## Slide 1: Our UP selection tool matters!

## Slide 2: Nomenclature
FSP - Fairmont Sedimentation Plant
SOW – Scope of Work
LADWP - Los Angeles Department of Water and Power
BODR – Basis of Design Report

## Slide 3: Key word searching: BODR basis of design report municipal water treatment plant sedimentation flocculation
https://www.townofbreckenridge.com/home/showdocument?id=7569
Notes: https://www.townofbreckenridge.com/home/showdocument?id=7569

## Slide 4
https://www.townofbreckenridge.com/home/showdocument?id=7569
Notes: https://www.townofbreckenridge.com/home/showdocument?id=7569

## Slide 5: Deliverables
Process Design Criteria
  Water quality (influent and effluent) summary
  Schematic diagram (Process Flow Diagram [PFD])
  Preliminary hydraulic profile
Basis of Design Report (BODR) and 30% Design
  Description and design criteria for each treatment process
  Final hydraulic profile
  Preliminary site layouts
  Supporting calculations and product datasheets
See Syllabus!
Notes: A set of piping and instrumentation diagrams (P&IDs) and preliminary specifications would also likely be included in 30% Design, but may be out of scope for the course…

## Slide 6: Treatment Train comments in SOW
Rapid Mix / Flocculation System – Mechanical rapid mix coagulation/flocculation tanks which feed directly into the sedimentation system.
Sedimentation System – Plate settler sedimentation basins with mechanical sludge removal. Sedimentation basins will be sized for appropriate number of trains to accommodate the design flow of the plant. Provide one fully redundant treatment train to accommodate maintenance activities.
FSP SOW page 18

## Slide 7: How we might approach this design
Process Lead
Design Lead
Rapid Mix/Floc Team
Chemicals Team
Hydraulics Team
Sludge Disposal Team
Sedimentation Team
Other Disciplines
Notes: Process lead would coordinate and guide the process teams; Design Lead would coordinate between Process Teams and other disciplines.

## Slide 8: How we might approach this design
Rapid Mix/Floc Team
Chemicals Team
Sludge Disposal
Team
Sedimentation Team

## Slide 9: Are some teams interested in exploring using potential energy rather than electricity?
We can spend more time exploring alternatives (and innovating)
Mechanized sludge removal systems create significant maintenance issues
Rapid mix is of questionable utility (EXCEPT that large scale mixing with the flow is ESSENTIAL before dividing the flow into different flocculators)
Every moving part is requires maintenance

## Slide 10: Tasks
Overall team structure
  Proposal
  Decision
Preferences for team